## Custom
SolutionCode | MeasureCatalogName | Custom/Deemed | Permit | Date Eligible | Note
AC-12348 | New Construction - Above Code Systems Design - Variable Speed Drives | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
AC-12765 | Optimize chiller sequencing - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-18574 | Frictionless compressor retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
AC-19642 | Optimize Carbon Dioxide (CO2) Demand Control Ventilation - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-19789 | Economizer - air side - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19790 | HVAC Occupancy Sensor - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19792 | Indirect evaporative cooling - dual stage - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19793 | Condenser fan - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19794 | HVAC Occupancy Sensor Thermostat - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19795 | Exhaust fan VFD controls for CO DCV in enclosed parking structures - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-20766 | Computer Room Air Conditioning Unit Component upgrade – Fan | Custom | 2 - Sometimes | 2018-10-30 | Only applicable to legacy programs
AC-20867 | Air Handling Unit (VAV only) >25 hp – Accelerated Replacement, To-Standard Practice | Custom | 2 - Sometimes | 2019-02-14
AC-21061 | Optimize HVAC system high volume low speed circulation fans - operational | Custom | 2 - Sometimes | 2019-05-06
AC-21453 | Supply fan (industrial only) – VFD – add-on equipment | Custom | 2 - Sometimes | 2019-09-26
AC-21478 | Insulating cool air ducts – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21479 | Insulating chiller water pipes – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21480 | Insulating refrigerant pipes – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21481 | Insulating condenser water pipes – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21817 | supply fan software-controlled switch reluctance motor > 3 HP - normal replacement | Custom | 2 - Sometimes | 2020-06-19
AC-21818 | supply fan software-controlled switch reluctance motor > 3 HP - accelerated replacement | Custom | 2 - Sometimes | 2020-06-19
AC-22210 | High Efficiency Water Cooled Chillers - accelerated replacement | Custom | 1 - Always | 2022-03-22
AC-22211 | Exhaust Fan ON/OFF cycling controls for CO DCV in enclosed parking garage - add-on equipment | Custom | 2 - Sometimes | 2022-03-01
AC-22215 | High Efficiency Constant Speed Air Cooled Chillers - accelerated replacement | Custom | 1 - Always | 2022-03-22
AC-22216 | Cooling Tower - VFD (space cooling only) - add-on equipment | Custom | 2 - Sometimes | 2022-05-06
AC-22217 | High Efficiency Variable Speed Air Cooled Chillers - accelerated replacement | Custom | 1 - Always | 2022-05-06
AC-22303 | Heat Pump System Airflow Adjustment - retrocommissioning | Custom | 1 - Always | 2023-01-20
AC-22304 | Heat Pump Refrigerant Charge Adjustment - retrocommissioning | Custom | 1 - Always | 2023-01-20
AC-22305 | Evaporator Fan Controller for Heat Pump - add-on-equipment | Custom | 1 - Always | 2023-01-20
AC-32109 | Improved chiller sequencing - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-32882 | Direct Evaporative Pre-Cooler for Condensing Units - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-34251 | Central plant consolidation | Custom | 2 - Sometimes | 2013-01-01 | Only applicable to legacy programs
AC-34264 | Energy efficient fan blade retrofits - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
AC-35444 | HVAC Time Clock Control - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-39548 | Variable speed chiller plant optimization - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-43210 | Chiller (HVAC) Compressor - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-43654 | HVAC zone control - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-56543 | Optimize sizing of cooling equipment - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-56832 | Economizer – Split DX System with VAV controls - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-57213 | Optimize HVAC boiler sequencing - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-59267 | HVAC chilled water pump system upgrades | Custom | 2 - Sometimes | 2013-01-01
AC-59408 | Reconfigure HVAC condenser water system - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-59483 | Automatic sash closer controls - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-59688 | New Construction - Above Code Systems Design - Furnaces | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
AC-59837 | New Construction - Above Code Systems Design - HVAC Energy Reduction | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
AC-60598 | Variable air volume for fumehoods | Custom | 2 - Sometimes | 2013-01-01
AC-61734 | Computer room air handling unit - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-63339 | Data center HVAC flow management retrofit [AR ONLY] | Custom | 2 - Sometimes | 2013-01-01
AC-65241 | New Construction - Above Code Systems Design - Chillers | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
AC-68030 | Constant air volume to variable air volume conversions – retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-68473 | Economizer - water side - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-69858 | Hot water pump motor - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-70454 | Chiller heat reclaim - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-70772 | Evaporative precoolers - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-71612 | High Efficiency Computer Room Air Conditioner | Custom | 1 - Always | 2013-01-01
AC-72117 | Pressure Independent CHW Valves on AHU CHW Coils | Custom | 2 - Sometimes | 2013-01-01
AC-72304 | New Construction - Above Code Systems Design - Multiple Fan Array Air Handling System | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
AC-73518 | Optimize sizing of heating equipment - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01 | Only applicable to legacy programs
AC-74199 | Chilled water loop heat reclaim | Custom | 2 - Sometimes | 2013-01-01 | Only applicable to legacy programs
AC-74933 | New Construction - Above Code Systems Design - Heat Pumps | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
AC-74984 | Condenser water pump motor - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-76274 | Data center airside HVAC controls retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-78487 | Economized cooling using fluid coolers | Custom | 2 - Sometimes | 2013-01-01
AC-78722 | Ventilation fan - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-79531 | HVAC Compressor Controls | Custom | 2 - Sometimes | 2013-01-01
AC-81711 | Multiple fan array air handling system | Custom | 2 - Sometimes | 2013-01-01 | Only applicable to legacy programs
AC-86944 | Cooling tower system retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
AC-89604 | New Construction - Above Code Systems Design - Air-Cooled Package A/C | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
AC-90217 | Optimize HVAC condenser water or cooling tower pump sequencing- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-96037 | Ventilation thermostat controls - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-98043 | New Construction - Above Code Design - Premium Efficiency Motors | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
PM-11099 | Chilled water pump optimization flow configuration | Custom | 2 - Sometimes | 2013-01-01
PM-15662 | Optimize chilled water pump sequencing- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-26354 | Chilled water pump retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PM-30194 | Optimize chilled water pump configuration - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-35263 | Condenser water pump retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PM-46398 | Condenser water pump optimization flow configuration | Custom | 2 - Sometimes | 2013-01-01
PM-58473 | Chilled water pump constant flow to variable flow conversion - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PM-60798 | Optimize condenser water pump configuration - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-69548 | Condenser water pump constant flow to variable flow conversion | Custom | 2 - Sometimes | 2013-01-01
PM-83657 | Optimize hot water pump sequencing- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PR-11217 | 48' EE high volume low speed exhaust or circulation fans - NEW | Custom | 2 - Sometimes | 2013-01-01
PR-21527 | Process pipe insulation - retrocommissioning | Custom | 2 - Sometimes | 2019-11-07
PR-21647 | High efficiency fluid cooler with VSD – normal replacement | Custom | 2 - Sometimes | 2020-01-13
PR-21833 | Industrial process cooling tower - VFD - add-on equipment | Custom | 2 - Sometimes | 2020-09-02
PR-21960 | Low global warming potential high efficiency process chiller - normal replacement | Custom | 2 - Sometimes | 2020-12-31
PR-22105 | Wastewater Driven Heat Pump Water Heater - Normal Replacement | Custom | 1 - Always | 2021-11-16
PR-46373 | New Construction - Above Code Systems Design - Data Center Cooling | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
PR-48391 | 20'- 26' EE high volume low speed exhaust or circulation fans - NEW | Custom | 2 - Sometimes | 2013-01-01
PR-48786 | 36 inches EE high volume low speed exhaust or circulation fans - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PR-67181 | 72 inch circulation fans with VFDs | Custom | 2 - Sometimes | 2013-01-01
PR-87855 | 57 inches - 60 inches EE high volume low speed exhaust or circulation fans - normal replacement | Custom | 2 - Sometimes | 2013-01-01
RF-21441 | Condenser fan - VFD - add-on equipment | Custom | 2 - Sometimes | 2019-09-06
RF-21451 | VFD on evaporator coil fan - new | Custom | 2 - Sometimes | 2019-09-19
RF-21476 | Continuously variable electric expansion valve – normal replacement | Custom | 2 - Sometimes | 2019-10-24
RF-21646 | Electronically commutated motor (ECM) evaporator fan with controller (<1HP) – accelerated replacement, to-code | Custom | 2 - Sometimes | 2020-01-07
RF-21739 | [SEM ONLY] Refrigeration system upsize suction header – normal replacement | Custom | 2 - Sometimes | 2020-04-23
RF-21969 | low charge ammonia, secondary loop carbon dioxide freezer - normal replacement | Custom | 2 - Sometimes | 2021-03-25
WB-20125 | Public Sector HOPPs Whole Building Measure | Custom | 2 - Sometimes | 2017-10-01 | Only applicable to legacy programs
WB-21715 | [NMEC Only] Whole building comprehensive retrofit - commercial | Custom | 2 - Sometimes | 2020-03-30
WB-22295 | [NMEC ONLY] Site-level whole building comprehensive retrofit - Multifamily | Custom | 2 - Sometimes | 2022-10-06
WB-78495 | New Construction - Above Code Comprehensive Design - Overall Building Performance | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
WB-89405 | New Construction - Above Code Design - Comprehensive Whole House | Custom | 1 - Always | 2013-01-01 | Only applicable to legacy programs
Total | 102
Notes:
The active list has 102 measures
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 8/15/23 Added Note column

## Deemed - By Measure Package #
MeasureVersionID | MeasureName | * Permit Required? (Specific to SB1414 PUC 399.4 (b)2 requirements ONLY) | Comments
SWHC001-02 | Wall Furnace, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC001-03 | Wall Furnace, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC004-04 | Space Heating Boiler, Commercial & Multifamily | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC004-05 | Space Heating Boiler, Commercial & Multifamily | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC005-03 | Water-Cooled Chiller | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC006-02 | Demand Control Ventilation for Single Zone HVAC | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC008-01 | Variable Speed Drive for a Central Plant System | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC009-03 | Supply Fan Controls, Commercial | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC011-02 | Furnace, Commercial | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC012-02 | HVAC Occupancy Sensor, Classroom | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC013-03 | Unitary Air-Cooled Air Conditioner, Over 65 kBtu/hr, Commercial | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC014-03 | Unitary Air-Cooled Air Conditioner or Heat Pump, Under 65 kBtu/hr, Commercial | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC018-03 | VSD for HVAC Fan Controls, Commercial | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC020-03 | Air-Cooled Chiller | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC023-03 | Enhanced Ventilation for Packaged HVAC | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC024-03 | Cogged V-Belt for HVAC Fan, Commercial | No | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC027-02 | Package Terminal Air Conditioner or Heat Pump, Under 24 kBtu/hr | Yes (if installation requires a new electrical circuit, box, receptacle) | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC027-03 | Package Terminal Air Conditioner or Heat Pump, Under 24 kBtu/hr | Yes (if installation requires a new electrical circuit, box, receptacle) | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC030-03 | Whole House Fan, Residential | Yes (if a new electrical circuit and/or box, receptacle are installed) | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC031-02 | Furnace, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC031-03 | Furnace, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC038-02 | Brushless Fan Motor Replacement, Residential | No | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC038-03 | Brushless Fan Motor Replacement, Residential | No | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC041-03 | Software-Controlled Switch Reluctance Motor | No | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC042-03 | Evaporative Pre-Cooler System and Controls for Packaged HVAC Unit | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC043-03 | Multiple Capacity Unitary Air-Cooled Commercial Air Conditioners Between 65 and 240 kBtu/hr | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC044-02 | Ductless HVAC, Residential, Fuel Substitution | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC045-01 | Heat Pump HVAC, Residential, Fuel Substitution | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC046-02 | Packaged Heat Pump Air Conditioner Commercial, Fuel Substitution | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC047-02 | Gas Fireplace, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC047-03 | Gas Fireplace, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC048-03 | Packaged Air Conditioner Heat Recovery, Commercial | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC049-03 | SEER Rated AC and HP HVAC Equipment, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC050-02 | Ductless Heat Pump, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC052-02 | Air-Cooled Chiller, Path B | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
SWHC054-01 | Heat Recovery Ventilation, Residential | Yes | (Code requirements vary in different cities and counties around the state. Check with your local building department to find out what's needed in your area. Check city, county and/or town if necessary)
Note: | From SB1414 Clause, SEC. 2. - Reference PUC 399.4 (b)(2):
*
From SB1414 Bill Analysis:
*
* | Permit Required - An SCE check on submission of an approved Permit document when a project requires Permit Closure approval based on the Authority Having Jurisdiction (AHJ).
Note on C1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Permit Required - An SCE check on submission of an approved Permit document when a project requires Permit approval based on the Authority Having Jurisdiction (AHJ).