## Sheet1
SCE Custom Solution Code | Measure Description | Date Eligible | Measure Application Type | Default EUL | EUL ID | Measure Notes
AC-10166 | Optimize supply fan VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-11250 | Ultrasonic humidifiers | 2013-01-01 | NR | 15 | HVAC-airAC
AC-12765 | Optimize chiller sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-15987 | Chilled water reset - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-18574 | Frictionless compressor retrofit - accelerated replacement | 2013-01-01 | AR | 20 | CompAir-Screw-VSD
AC-19384 | Kitchen exhaust fan - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
AC-19642 | Optimize carbon dioxide (CO2) demand control ventilation - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-19756 | Condenser water reset - retrocommissioning | 2017-06-19 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-19758 | Trim pump impeller - retrocommissioning | 2017-06-19 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-19789 | Economizer - air side - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-airAC
AC-19790 | HVAC occupancy sensor - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-airAC
AC-19792 | Indirect evaporative cooling - dual stage - add-on equipment | 2017-06-19 | AOE | 5 | HV-Evap
AC-19793 | Condenser fan - VFD - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-VSDSupFan
AC-19794 | HVAC occupancy sensor thermostat - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-airAC
AC-19795 | Exhaust fan VFD controls for CO DCV in enclosed parking structures - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-VSDSupFan
AC-20867 | Air Handling Unit (VAV only) >25 hp - Accelerated Replacement, To-Standard Practice | 2019-02-14 | AR | 5 | HVAC-VSDSupFan
AC-21061 | Optimize HVAC system high volume low speed circulation fans - operational | 2019-05-06 | BRO-Op | 3 | NonRes-RCx-Operational | Custom Notes: • This measure will require pre- and post- installation M&V plan including measure points, measurement period, measurement interval, measurement equipment, discussion of accuracy measurement equipment and uncertainty associated in the PFS. If it is possible, it would be good to have this information at high level during ESD submission. • Please provide a precise step-by-step calculation methodology on how high volume low speed circulation fans measure implementation is planned to be determined and how savings are calculated/quantified in the PFS. If it is possible, it would be good to have this information at high level during ESD submission. • Please provide a methodology on how to demonstrate the same level of service for pre- and post- installation in the PFS. If it is possible, it would be good to have this information at high level during ESD submission. General Instruction: • Please include this letter in ESD submission.
AC-21453 | Supply fan (industrial only) - VFD - add-on equipment | 2019-09-26 | AOE | 5 | HVAC-VSDSupFan
AC-21478 | Insulating cool air ducts - add-on equipment | 2019-10-28 | AOE | 6.67 | HVAC-DuctInsul
AC-21479 | Insulating chiller water pipes - add-on equipment | 2019-10-28 | AOE | 3.67 | WtrHt-PipeIns-Gas
AC-21480 | Insulating refrigerant pipes - add-on equipment | 2019-10-28 | AOE | 3.67 | WtrHt-PipeIns-Gas
AC-21481 | Insulating condenser water pipes - add-on equipment | 2019-10-28 | AOE | 3.67 | WtrHt-PipeIns-Gas
AC-21714 | Telecom HVAC air distribution optimization - retrocommissioning | 2020-03-25 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-21817 | supply fan software-controlled switch reluctance motor > 3 HP - normal replacement | 2020-06-19 | NR | 15 | HVAC-VSDSupFan
AC-21818 | supply fan software-controlled switch reluctance motor > 3 HP - accelerated replacement | 2020-06-19 | AR | 5 | HVAC-VSDSupFan
AC-21959 | Cooling tower physical water treatment system- new | 2020-12-31 | NC | 15 | HVAC-ClTwrPkgSys | The measure is only applicable when installing a new commercial cooling tower system with a minimum cooling capacity of 500 tons. Current commercial building cooling towers use chemical injection systems to treat the cooling water. The new measure uses a physical water treatment system to treat the cooling water.
AC-22210 | High Efficiency Water Cooled Chillers - accelerated replacement | 2022-03-22 | AR | 20 | HVAC-Chlr | Foot Notes: 1. Both the full load efficiency (kW/ton) AND integrated part load efficiency (IPLV) of the measure case chiller technology shall exceed Title 24 minimum requirement by 10%. 2. The standard practice baseline shall be defined as a variable speed water-cooled chiller for use in a nonresidential building that meets the minimum efficiency requirements set forth by Title 24 in both full load and integrated part load conditions under Path B compliance.
AC-22211 | Exhaust Fan ON/OFF cycling controls for CO DCV in enclosed parking garage - add-on equipment | 2022-03-01 | AOE | 5 | Motors-fan | Foot Notes: 1. This measure shall only be installed on existing parking garage ventilation system. 2. The existing parking garage ventilation system must comply with the requirements of Title 24 in effect at the time of its installation. 3. The proposed parking garage ventilation exhaust system modifications shall comply with current Local and State Code requirements. 4. Any deviation from current Local and State Code requirements on the parking garage ventilation exhaust system shall be subject to approval by local authority having jurisdiction/building engineering plan check department/building inspection department.
AC-22215 | High Efficiency Constant Speed Air Cooled Chillers - accelerated replacement | 2022-03-22 | AR | 20 | HVAC-Chlr | Foot notes: 1. Both the full load efficiency AND integrated part load efficiency (IPLV) of the measure case chiller technology shall exceed Title 24 minimum requirement by 10%. 2. The standard practice baseline shall be defined as a constant speed air-cooled (screw) chiller for use in a nonresidential building that meets the minimum efficiency requirements set forth by Title 24 in both full load and integrated part load conditions under Path A compliance.
AC-22216 | Cooling Tower - VFD (space cooling only) - add-on equipment | 2022-05-06 | AOE | 5 | HVAC-VSDSupFan | Foot Notes: 1. The existing cooling tower must follow the requirements of Title 24 in effect at the time of its installation or when Title 24 was triggered due to additions or alterations of the cooling tower. 2. Ensure that the nominal efficiency used as an existing conditions baseline will reflect the efficiency rating, designed efficiency, or original efficiency of well-maintained and properly configured equipment for all measures in accordance with Resolution E-4818. For more details, please refer to Resolution E-4818.
AC-22217 | High Efficiency Variable Speed Air Cooled Chillers - accelerated replacement | 2022-05-06 | AR | 20 | HVAC-Chlr | Foot Notes: 1. The full load efficiency of the air-cooled chiller shall exceed Title 24 Path B minimum requirement by 7% and the integrated part load efficiency of the air-cooled chiller shall exceed Title 24 Path B minimum requirement by 12%. 2. The standard practice baseline shall be defined as a variable speed air-cooled (screw) chiller for use in a nonresidential building that meets the minimum efficiency requirements set forth by Title 24 in both full load and integrated part load conditions under Path B compliance.
AC-22303 | Heat Pump System Airflow Adjustment - retrocommissioning | 2023-01-20 | BRO-RCx | 3 | HVAC-RefChg | Foot Notes: 1. Routine maintenance items must be performed prior baseline airflow measurement. 2. If adjustments include savings from available Deemed measure packages, the Deemed savings must be reduced from the overall savings. Clearly identify the measure package and associated savings in the PFS. M&V plan shall include details on how to disaggregate the deemed savings from the collected data. 3. The system must be capable of delivering a supply airflow rate of at least 350 cfm/ton after treatments related to airflow are completed and before refrigerant charge is tested and/or adjusted. The airflow shall not be reduced below the unit’s intended or designed airflow. 4. State Certified Air Balance Contractor needs to perform airflow verifications at post installation.
AC-22304 | Heat Pump Refrigerant Charge Adjustment - retrocommissioning | 2023-01-20 | BRO-RCx | 3 | HVAC-RefChg | Foot Notes: 1. Assessment, verification, and charge adjustment shall comply with Title 24, Part 6 RA3.2.2 “Standard Charge Verification Procedure.” Alternative method for verification must be submitted to the Commission for approval. 2. The system must be capable of delivering a supply airflow rate of at least 350 cfm/ton after treatments related to airflow are completed and before refrigerant charge is tested and/or adjusted. 3. The refrigerant avoided cost calculator (RACC) shall be used to calculate avoided cost/penalty. 4. Systems undercharged or overcharged by <10% are not eligible for this measure.
AC-22305 | Evaporator Fan Controller for Heat Pump - add-on-equipment | 2023-01-20 | AOE | 5 | HVAC-airHP | Foot Notes: 1. Heat pump with existing evaporator fan-delay controller is not eligible for this measure.
AC-22327 | Supply air temperature reset - retrocommissioning | 2023-07-25 | BRO-RCx | 3 | NonRes-RCx-Operational | Measure Notes: 1. This measure shall only be used for systems that were not required to have supply air temperature reset when installed or to restore previous functionality. 2. All retro-commissioning measures shall be compliant with current building and energy codes, where applicable.
AC-22328 | Chilled Water Differential Pressure Reset - retrocommissioning | 2023-07-25 | BRO-RCx | 3 | NonRes-RCx-Operational | Measure Notes: 1. This measure shall not be used for systems that required to have differential pressure reset when installed or to restore functionality. 2. All retro-commissioning measures shall be compliant with current building and energy codes, where applicable.
AC-22329 | Waterside Economizer Optimization - retrocommissioning | 2023-07-25 | BRO-RCx | 3 | NonRes-RCx-Operational | Measure Notes: 1. All retro-commissioning adjustments to existing waterside economizers shall be compliant with current building and energy code, where applicable.
AC-24456 | Optimize return fan VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-25486 | Adjust zone temperature deadband - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-27534 | Optimize fan static pressure controls - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-28476 | Optimize exhaust fan VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-32109 | Improved chiller sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-32882 | Direct evaporative pre-cooler for condensing units - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-EMS
AC-34264 | Energy efficient fan blade retrofits - accelerated replacement | 2013-01-01 | AR | 15 | Motors-fan
AC-35444 | HVAC Time Clock Control - add-on equipment | 2013-01-01 | AOE | 3.7 | HVAC-Timeclocks
AC-37684 | Optimize VAV box flow - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-38143 | HVAC control loop tuning - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-39548 | Variable speed chiller plant optimization - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-43210 | Chiller (HVAC) compressor - VFD - add-on equipment | 2013-01-01 | AOE | 6.67 | HVAC-Chlr
AC-43654 | HVAC zone control - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
AC-48273 | Optimize chiller water compressor VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-48587 | Optimize zone set-up and setback - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-48675 | Optimize exhaust fan schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-49858 | Adjust chiller water reset - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-56476 | Optimize return fan schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-56543 | Optimize sizing of cooling equipment - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-56832 | Economizer - Split DX System with VAV controls - Add-on Equipment | 2013-01-01 | AOE | 5 | HVAC-airAC
AC-57213 | Optimize HVAC boiler sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-58687 | Calibrate HVAC sensor - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-59267 | HVAC chilled water pump system upgrades - accelerated replacement | 2013-01-01 | AR | 15 | Motors-pump
AC-59408 | Reconfigure HVAC condenser water system - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-59483 | Automatic sash closer controls - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-fan
AC-59491 | Adjust supply air temperature reset - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-59870 | Optimize space static pressure controls - retrocommissioning | 2013-06-25 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-60598 | Variable air volume for fumehoods - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-fan
AC-60890 | Optimize HVAC flow sensor - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-61048 | Reduce deck static pressure - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-61734 | Computer room air handling unit - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-airAC
AC-63339 | Data center HVAC flow management retrofit - accelerated replacement | 2013-01-01 | AR | 15 | Motors-fan
AC-64388 | Optimum start/stop EMS control - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-65342 | Optimize HVAC boiler schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-68030 | Constant air volume to variable air volume conversions - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-68473 | Economizer - water side - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-airAC
AC-68894 | Optimize HVAC water loop balancing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-69858 | Hot water pump motor - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
AC-70454 | Chiller heat reclaim - add-on equipment | 2013-01-01 | AOE | 6.67 | HVAC-Chlr
AC-70772 | Evaporative precoolers - add-on equipment | 2013-01-01 | AOE | 5 | HV-Evap
AC-71612 | High efficiency computer room air conditioner | 2013-01-01 | NR | 15 | HV-ResAC
AC-72117 | Pressure independent CHW valves on AHU CHW coils | 2013-01-01 | NR | 15 | HVAC-wtrAC
AC-74199 | Chilled water loop heat reclaim - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
AC-74984 | Condenser water pump motor - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
AC-76274 | Optimize data center airside HVAC controls - operational | 2013-01-01 | BRO-Op | 3 | NonRes-RCx-Operational
AC-78325 | Optimize air handler controls - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-78487 | Economized cooling using fluid coolers - add-on equipment | 2013-01-01 | AOE | 5 | Agr-MilkPreCool
AC-78722 | Ventilation fan - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
AC-79531 | HVAC compressor controls - add-on equipment | 2013-01-01 | AOE | 5 | RefgWrhs-Comp
AC-79695 | Revise supply fan schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-84943 | Adjust condenser water reset - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-86734 | Optimize fan static pressure reset - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-86944 | Cooling tower system retrofit - accelerated replacement | 2013-01-01 | AR | 15 | HVAC-ClTwrPkgSys
AC-87967 | Perform air balance - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-89556 | Optimize HVAC chiller plant schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-89657 | Optimize hot water reset - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-90217 | Optimize HVAC condenser water or cooling tower pump sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-90765 | Optimize outdoor air intake - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-96037 | Ventilation thermostat controls - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
AC-98234 | Optimize HVAC condenser water or cooling tower fan schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
AC-98504 | Optimize hot water pump VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
BE-19812 | Window film - weatherization | 2017-06-19 | BW | 10 | GlazDaylt-WinFilm
BE-60912 | Building shell improvements - weatherization | 2013-01-01 | BW | 20 | BldgEnv-RoofIns
BE-78594 | Efficient windows | 2013-01-01 | NR | 20 | GlazDaylt-LoSHGC
FS-19589 | Foodservice high density holding cabinet | 2013-01-01 | NR | 12 | Cook-HoldCab
FS-70632 | Efficient Dual Cavity Toaster | 2013-01-01 | AR | 6 | Cook-ElecCombOven
FS-94354 | Replace water-based holding wells with induction holding wells | 2013-01-01 | NR | 12 | Cook-HoldCab
LT-21013 | [SEM ONLY] Lighting Controls - Occupancy Sensors - Add-on Equipment | 2019-03-08 | AOE | 2.7 | ILtg-OccSens
LT-22004 | [MLC Only] Architectural Flood and Spot Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22005 | [MLC Only] Bollards - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22006 | [MLC Only] Fuel Pump Canopy Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22007 | [MLC Only] Landscape and Spot Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22008 | [MLC Only] Outdoor Full-Cutoff Wall-Mounted Area Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22009 | [MLC Only] Outdoor Non-Cutoff & Semi-Cutoff Wall-Mounted Area Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22010 | [MLC Only] Outdoor PoleArm-Mounted Area and Decorative Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22011 | [MLC Only] Outdoor PoleArm-Mounted Area and Roadway Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22012 | [MLC Only] Parking Garage Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22013 | [MLC Only] Stairwell and Passageway Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22014 | [MLC Only] Specialty - Sports Flood - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22015 | [MLC Only] Wall-Wash Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22016 | [MLC Only] Track or Mono-Point Directional Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22017 | [MLC Only] Display Case Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22018 | [MLC Only] Horizontal Refrigerated Case Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22019 | [MLC Only] Vertical Refrigerated Case Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22020 | [MLC Only] 2x2 Luminaires for Ambient Lighting of Interior Spaces - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22021 | [MLC Only] 1x4 Luminaires for Ambient Lighting of Interior Spaces - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22022 | [MLC Only] 2x4 Luminaires for Ambient Lighting of Interior Spaces - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22023 | [MLC Only] Direct Linear Ambient Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22024 | [MLC Only] Linear Ambient Luminaires w Indirect Component - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22025 | [MLC Only] Low Bay for Commercial and Industrial Buildings - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22026 | [MLC Only] High Bays for Commercial and Industrial Buildings - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22027 | [MLC Only] High Bay Aisle Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22028 | [MLC Only] Retrofit Kits for Large Outdoor Pole-Arm Mounted Area and Roadway - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22029 | [MLC Only] Retrofit Kits for Outdoor Cutoff Wall Mounted Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22030 | [MLC Only] Retrofit Kits for Outdoor Pole-Arm Mounted Area and Roadway - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22031 | [MLC Only] Retrofit Kits for Outdoor Pole-Arm Mounted Decorative - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22032 | [MLC Only] Integrated Retrofit Kits (1x4) - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22033 | [MLC Only] Integrated Retrofit Kits (2x2) - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22034 | [MLC Only] Integrated Retrofit Kits (2x4) - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22035 | [MLC Only] Linear Retrofit Kits (1x4) - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22036 | [MLC Only] Linear Retrofit Kits (2x2) - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22037 | [MLC Only] Linear Retrofit Kits (2x4) - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22038 | [MLC Only] Retrofit Kits for Direct Linear Ambient Luminaires - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22039 | [MLC Only] Retrofit Kits for High-Bay Luminaires for Commercial and Industrial Buildings - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22040 | [MLC Only] Retrofit Kits for Low-Bay Luminaires for Commercial and Industrial Buildings - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22041 | [MLC Only] Wallpacks - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22042 | [MLC Only] Pole Mounted - accelerated replacement | 2022-01-18 | AR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22046 | [MLC Only] (ES) A Lamp - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-15000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22047 | [MLC Only] (ES) Candelabra - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-15000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22048 | [MLC Only] (ES) Globe - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-15000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22049 | [MLC Only] (ES) MR16 - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-20000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22050 | [MLC Only] (ES) Other - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-20000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22051 | [MLC Only] (ES) Reflector - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-20000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22052 | [MLC Only] (ES) Downlight Retrofits - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22053 | [MLC Only] (ES) Downlight Fixtures - accelerated replacement | 2022-01-18 | AR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22054 | [MLC Only] Architectural Flood and Spot Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22055 | [MLC Only] Bollards - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22056 | [MLC Only] Fuel Pump Canopy Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22057 | [MLC Only] Landscape and Spot Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22058 | [MLC Only] Outdoor Full-Cutoff Wall-Mounted Area Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22059 | [MLC Only] Outdoor Non-Cutoff & Semi-Cutoff Wall-Mounted Area Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22060 | [MLC Only] Outdoor PoleArm-Mounted Area and Decorative Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22061 | [MLC Only] Outdoor PoleArm-Mounted Area and Roadway Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22062 | [MLC Only] Parking Garage Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22063 | [MLC Only] Stairwell and Passageway Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22064 | [MLC Only] Specialty - Sports Flood - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22065 | [MLC Only] Wall-Wash Luminaires - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22066 | [MLC Only] Track or Mono-Point Directional Luminaires - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22067 | [MLC Only] Display Case Luminaires - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22068 | [MLC Only] Horizontal Refrigerated Case Luminaires - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22069 | [MLC Only] Vertical Refrigerated Case Luminaires - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22078 | [MLC Only] Retrofit Kits for Large Outdoor Pole-Arm Mounted Area and Roadway - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22079 | [MLC Only] Retrofit Kits for Outdoor Cutoff Wall Mounted Luminaires - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22080 | [MLC Only] Retrofit Kits for Outdoor Pole-Arm Mounted Area and Roadway - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22081 | [MLC Only] Retrofit Kits for Outdoor Pole-Arm Mounted Decorative - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22091 | [MLC Only] Wallpacks - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22092 | [MLC Only] Pole Mounted - normal replacement | 2022-01-18 | NR | 12 | OLtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22096 | [MLC Only] (ES) A Lamp - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-15000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22097 | [MLC Only] (ES) Candelabra - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-15000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22098 | [MLC Only] (ES) Globe - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-15000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22099 | [MLC Only] (ES) MR16 - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-20000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22100 | [MLC Only] (ES) Other - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-20000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22101 | [MLC Only] (ES) Reflector - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-20000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22102 | [MLC Only] (ES) Downlight Retrofits - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22103 | [MLC Only] (ES) Downlight Fixtures - normal replacement | 2022-01-18 | NR | 12 | ILtg-Com-LED-50000hr | 01/18/2022: Lighting solution code created for SW MLC tool. Please reference 060.0 E-PPICs MEMO for more detail
LT-22306 | [MLC Only] Internal Driver/Line Voltage (UL Type B) 2G11 Lamps - accelerated replacement | 2023-04-04 | AR | 12 | ILtg-Com-LED-20000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22307 | [MLC Only] Internal Driver/Line Voltage (UL Type B) Lamps - accelerated replacement | 2023-04-04 | AR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. 1 to 1 match with measure in existing measure package must go Deemed. Documentation to show that ballasts have been removed must be provided.
LT-22308 | [MLC Only] External Driver (UL Type C) 2G11 Lamps - accelerated replacement | 2023-04-04 | AR | 12 | ILtg-Com-LED-20000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail.
LT-22309 | [MLC Only] Dual Mode Internal Driver (UL Type A and Type B) - accelerated replacement | 2023-04-04 | AR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. 1 to 1 match with measure in existing measure package must go deemed. Documentation to show that ballasts have been removed must be provided.
LT-22310 | [MLC Only] External Driver (UL Type C) Lamps - accelerated replacement | 2023-04-04 | AR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. 1 to 1 match with measure in existing measure package must go deemed.
LT-22311 | [MLC Only] Replacement Lamps for Low-Bay Luminaires (Type B) - accelerated replacement | 2023-04-04 | AR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22312 | [MLC Only] Replacement Lamps for High-Bay Luminaires (Type B) - accelerated replacement | 2023-04-04 | AR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22313 | [MLC Only] Replacement Lamps for Outdoor PoleArm-Mounted Area and Roadway Luminaires (Type B) - accelerated replacement | 2023-04-04 | AR | 12 | OLtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22314 | [MLC Only] Replacement Lamps for Outdoor PoleArm-Mounted Decorative Luminaires (Type B) - accelerated replacement | 2023-04-04 | AR | 12 | OLtg-Com-LED-50000hr | "SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22315 | [MLC Only] Replacement Lamps for Outdoor PoleArm-Mounted Area and Roadway Luminaires (Type C) - accelerated replacement | 2023-04-04 | AR | 12 | OLtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail.
LT-22316 | [MLC Only] Internal Driver/Line Voltage (UL Type B) 2G11 Lamps - normal replacement | 2023-04-04 | NR | 12 | ILtg-Com-LED-20000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22317 | [MLC Only] Internal Driver/Line Voltage (UL Type B) Lamps - normal replacement | 2023-04-04 | NR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. 1 to 1 match with measure in existing measure package must go deemed. Documentation to show that ballasts have been removed must be provided.
LT-22318 | [MLC Only] External Driver (UL Type C) 2G11 Lamps - normal replacement | 2023-04-04 | NR | 12 | ILtg-Com-LED-20000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail.
LT-22319 | [MLC Only] Dual Mode Internal Driver (UL Type A and Type B) - normal replacement | 2023-04-04 | NR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. 1 to 1 match with measure in existing measure package must go deemed. Documentation to show that ballasts have been removed must be provided.
LT-22320 | [MLC Only] External Driver (UL Type C) Lamps - normal replacement | 2023-04-04 | NR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. 1 to 1 match with measure in existing measure package must go deemed.
LT-22321 | [MLC Only] Replacement Lamps for Low-Bay Luminaires (Type B) - normal replacement | 2023-04-04 | NR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22322 | [MLC Only] Replacement Lamps for High-Bay Luminaires (Type B) - normal replacement | 2023-04-04 | NR | 12 | ILtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22323 | [MLC Only] Replacement Lamps for Outdoor PoleArm-Mounted Area and Roadway Luminaires (Type B) - normal replacement | 2023-04-04 | NR | 12 | OLtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22324 | [MLC Only] Replacement Lamps for Outdoor PoleArm-Mounted Decorative Luminaires (Type B) - normal replacement | 2023-04-04 | NR | 12 | OLtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail. Documentation to show that ballasts have been removed must be provided.
LT-22325 | [MLC Only] Replacement Lamps for Outdoor PoleArm-Mounted Area and Roadway Luminaires (Type C) - normal replacement | 2023-04-04 | NR | 12 | OLtg-Com-LED-50000hr | SS 04/04/2023: Lighting solution code created for SW MLC tool. Please reference 063.2 E-PPICs memo for more detail.
LT-23876 | Optimize lighting occupancy sensors - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
LT-36754 | Optimize daylighting controls - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
MT-20868 | Induction to Permanent Magnet Motor (Oil/gas submersible pumps only) - NR, NEW | 2019-02-11 | NR | 15 | Motors-HiEff
MT-28473 | Motor cycling controls - add-on equipment | 2013-01-01 | AOE | 5 | Motors-fan
MT-41009 | Optimize non-process motor VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
MT-50941 | Constant speed variable load motor controller - add-on equipment | 2013-01-01 | AOE | 5 | Motors-fan
MT-65483 | Motor generator set replacements (ineligible for hotel industry) | 2013-01-01 | NR | 15 | Motors-HiEff
MT-79578 | Direct drive motor | 2013-01-01 | NR | 15 | Motors-HiEff
PM-11099 | Chilled water pump optimization flow configuration | 2013-01-01 | NR | 15 | HVAC-EMS
PM-14041 | Milking vacuum pump -VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PM-15246 | Optimize pump timer controls - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-15662 | Optimize chilled water pump sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-16109 | Pump controls - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PM-18600 | VFD on agricultural well pumps (>300hp) serving pressurized systems - add-on equipment | 2013-01-01 | AOE | 3.3 | Agr-VSDWellPmp
PM-18628 | VFD on Ag well pump serving non-pressurized system - add-on equipment | 2013-01-01 | AOE | 3.3 | Agr-VSDWellPmp
PM-18629 | VFD on non Ag well pump - add-on equipment | 2013-01-01 | AOE | 3.3 | Agr-VSDWellPmp
PM-19537 | Reservoir liner - operational | 2017-02-17 | BRO-Op | 3 | NonRes-RCx-Operational
PM-19776 | Trim pump impeller - retrocommissioning | 2017-06-19 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-19854 | Optimize chilled water pump schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-20494 | Rotary screw vacuum pump system with VSD - new | 2018-08-23 | NC | 15 | Agr-VSDmilkVcm
PM-21403 | VFD and controls added to hydraulic power unit - add-on-equipment | 2019-07-25 | AOE | 5 | ProcDist-Motor_Spd
PM-21404 | Industrial pump system overhaul (25 to 49 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21405 | Industrial pump system overhaul (50 to 99 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21406 | Industrial pump system overhaul (100 to 249 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21407 | Industrial pump system overhaul (250 to 499 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21408 | Industrial pump system overhaul (>= 500 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21409 | Commercial pump system overhaul (25 to 49 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21410 | Commercial pump system overhaul (50 to 99 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21411 | Commercial pump system overhaul (100 to 249 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21412 | Commercial pump system overhaul (250 to 499 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21413 | Commercial pump system overhaul (>= 500 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21414 | Wastewater pump system overhaul (25 to 49 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21415 | Wastewater pump system overhaul (50 to 99 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21416 | Wastewater pump system overhaul (100 to 249 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21417 | Wastewater pump system overhaul (250 to 499 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21418 | Wastewater pump system overhaul (>= 500 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21419 | Agricultural pump system overhaul (25 to 49 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21420 | Agricultural pump system overhaul (50 to 99 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21421 | Agricultural pump system overhaul (100 to 249 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21422 | Agricultural pump system overhaul (250 to 499 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21423 | Agricultural pump system overhaul (>= 500 HP) - retrocommissioning | 2019-07-30 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-21426 | VFD on Ag well pump (>300 HP) - new | 2019-08-05 | NC | 10 | Agr-VSDWellPmp
PM-21452 | VFD on fluid pump - new | 2019-09-26 | NC | 15 | HVAC-VSD-pump
PM-21648 | high efficiency liquid ring vacuum pump with integrated VFD - normal replacement | 2020-02-13 | NR | 15 | Agr-VSDmilkTrnsfr
PM-21712 | Agricultural pumping system upgrades - add-on equipment | 2020-03-12 | AOE | 5 | Motors-pump
PM-21821 | VFD on Ag pump serving non-pressurized system - new | 2020-07-02 | NC | 10 | Agr-VSDWellPmp
PM-21834 | Nonresidential pool pump - VFD - add-on equipment | 2013-01-01 | AOE | 3.3 | OutD-PoolPump
PM-21946 | Pump controls - new | 2020-12-11 | NC | 15 | Motors-pump
PM-21954 | Improve performance of pumped fluid distribution piping - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-23156 | Optimize hot water pump schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-23862 | Optimize chilled water pump VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-26354 | Chilled water pump retrofit - accelerated replacement | 2013-01-01 | AR | 15 | Motors-pump
PM-26473 | Non-residential pool pump with VFD | 2013-01-01 | NR | 10 | OutD-PoolPump
PM-27202 | Right sizing pumps - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-28467 | Water shutoff controls (excludes smart wells for oil applications) - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PM-28579 | Optimize water pump level control system - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-29383 | New Construction - Above Code Systems Design - Water Distribution Pumping | 2013-01-01 | NC | 15 | Motors-pump
PM-29644 | Optimize fluid flow system - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-30194 | Optimize chilled water pump configuration - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-34252 | Oilfield water injector pump with VFD (eligible for existing only) - Add-on Equipment | 2013-01-01 | AOE | 3.3 | Agr-VSDWellPmp
PM-35263 | Condenser water pump retrofit - accelerated replacement | 2013-01-01 | AR | 15 | Motors-pump
PM-35845 | Fluid pump - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PM-38485 | New Construction - Above Code Systems Design - Wastewater Treatment Pumping and Aeration | 2013-01-01 | NC | 15 | Motors-pump
PM-39486 | Tape drip irrigation system | 2013-01-01 | NR | 20 | Agr-DripIrr
PM-39807 | Optimize condenser water pump schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-42142 | SCADA system - add-on equipment | 2013-01-01 | AOE | 5 | Motors-pump
PM-45624 | Meter and prover controls for petroleum fuel products - Add-on Equipment | 2013-01-01 | AOE | 6.7 | ProcDist-Motor_Spd
PM-46398 | Condenser water pump optimization flow configuration | 2013-01-01 | NR | 15 | Motors-pump
PM-50902 | Industrial pump retrofit - accelerated replacement | 2013-01-01 | AR | 15 | Motors-pump
PM-50934 | Optimize condenser water pump VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-54502 | Vacuum pumps - VFD - add-on equipment | 2013-01-01 | AOE | 4.3 | CompAir-Screw-VSD
PM-58371 | Optimize pump discharge valve - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-58473 | Chilled water pump constant flow to variable flow conversion - accelerated replacement | 2013-01-01 | AR | 5 | HVAC-VSD-pump
PM-60798 | Optimize condenser water pump configuration - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-69548 | Condenser water pump constant flow to variable flow conversion - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PM-83657 | Optimize hot water pump sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PM-93654 | Milk transfer pump - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PM-98434 | Wastewater pump - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PR-10192 | Wastewater treatment - blower VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-10231 | Optimize process condenser water or cooling tower fan schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-10653 | Vertical roller feed dryer for air compressors | 2013-01-01 | NR | 15 | CompAir-CycAirDryr
PR-10793 | Air Compressor - Variable Displacement | 2013-01-01 | NR | 13 | CompAir-Screw-VSD
PR-10911 | Replace motor-generator set with solid state power conversion | 2013-01-01 | NR | 15 | Motors-HiEff
PR-11217 | 48 inches EE high volume low speed exhaust or circulation fans - new | 2013-01-01 | NC | 15 | HVAC-VSDSupFan
PR-11258 | Process chiller plant system retrofit - accelerated replacement | 2013-01-01 | AR | 15 | HVAC-ClTwrPkgSys
PR-11299 | Process cooling tower system retrofit - accelerated replacement | 2013-01-01 | AR | 15 | HVAC-ClTwrPkgSys
PR-11929 | Energy efficient injection molding radiant heater bands | 2013-01-01 | NR | 15 | HV-EffFurn
PR-12090 | Heat Press Insulation - Add-on Equipment | 2013-01-01 | AOE | 3.7 | WtrHt-PipeIns-Gas
PR-12450 | > 75 HP variable speed drive on process fan control - add-on equipment | 2013-01-01 | AOE | 4.3 | ProcDist-Motor_Spd
PR-12457 | High Efficiency Paper Forming Machine | 2013-01-01 | NR | 15 | Motors-HiEff
PR-14374 | Pulse cooling for injection molders | 2013-01-01 | NR | 15 | Motors-HiEff
PR-16243 | Electric furnace system retrofits - accelerated replacement | 2013-01-01 | AR | 20 | HVAC-Frnc
PR-17464 | Wastewater controls - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSD-pump
PR-18583 | Injection molding - direct drive | 2013-01-01 | NR | 15 | Motors-HiEff
PR-18630 | Hydrogen Compressor - VSD - Add-on Equipment | 2013-01-01 | AOE | 4.7 | CompAir-Screw-VSD
PR-18631 | Liquefied Propane Gas Compressor - VSD - Add-on Equipment | 2013-01-01 | AOE | 4.7 | CompAir-Screw-VSD
PR-19283 | Air compressor intermediate flow controller - add-on equipment | 2013-01-01 | AOE | 4.3 | CompAir-Screw-VSD
PR-19385 | Optimize process condenser water or cooling tower pump sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-19779 | Install recessed plate filter press - normal replacement | 2017-06-19 | NR | 3 | Motors-HiEff
PR-19786 | Compressed air system repair - retrocommissioning | 2017-06-19 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-19797 | Boiler fans - VFD - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-VSDSupFan
PR-19798 | Efficient heating element panels for electric induction furnaces - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-Frnc
PR-19799 | Compressor air dryer control - add-on equipment | 2017-06-19 | AOE | 4.3 | CompAir-Screw-VSD
PR-19801 | Air compressor - VFD - add-on equipment | 2017-06-19 | AOE | 4.3 | CompAir-Screw-VSD
PR-19802 | Install bypass controls for a metal cleaning system - add-on equipment | 2017-06-19 | AOE | 5 | HVAC-VSD-pump
PR-20099 | Variable speed drive on process fan control 3 hp to less than or equal to 75 hp - add-on equipment | 2018-01-01 | AOE | 4.3 | ProcDist-Motor_Spd
PR-20159 | Engineered Seal for Kiln - accelerated replacement | 2017-11-29 | AR | 20 | HVAC-Frnc
PR-20170 | High efficiency wastewater blower < 700 hp | 2018-01-01 | NR | 8 | Motors-HiEff
PR-20292 | Basket Fan to Panel Fan Reconfiguration | 2018-04-16 | NR | 15 | HVAC-VSDSupFan
PR-20347 | Process Fan System Component upgrade - Fan Wheel and associated accessories - accelerated replacement | 2018-06-21 | AR | 15 | ProcDist-Motor_Spd
PR-20469 | Agricultural high efficiency recirculation/circulation fan - normal replacement | 2018-07-24 | NR | 15 | HVAC-2Spd
PR-20825 | Indoor Horticulture Lighting (Process Only) - normal replacement | 2019-01-11 | NR | 6.8 | LtgFixture-Default
PR-20847 | Process motor - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-20874 | Drive Controlled Variable Speed Hydraulic Power Unit | 2019-02-11 | NR | 15 | ProcDist-Motor_Spd
PR-20875 | [SEM ONLY] Air Compressor System Control - Add-on Equipment | 2019-02-25 | AOE | 4.3 | CompAir-Screw-VSD
PR-20876 | [SEM ONLY] Air compressor mechanical/aerodynamic retrofit | 2019-03-08 | NR | 13 | CompAir-Screw-VSD
PR-21010 | [SEM ONLY] Optimize System Heat Rejection - Operational | 2019-03-08 | BRO-Op | 3 | NonRes-RCx-Operational
PR-21012 | [SEM ONLY] Process Motor-VFD- Add-on Equipment | 2019-03-08 | AOE | 5 | HVAC-VSDSupFan
PR-21053 | Optimize oxygen generation system (cement plant only) - operational | 2019-04-16 | BRO-Op | 3 | NonRes-RCx-Operational
PR-21055 | [SEM ONLY] Exhaust Gas Heat Reclaim - Add on Equipment | 2019-04-03 | AOE | 6.67 | HVAC-AtoAHtExchng
PR-21057 | [SEM ONLY] Optimize compressed air distribution system - operational | 2019-04-10 | BRO-Op | 3 | NonRes-RCx-Operational
PR-21062 | Cement Plant Efficient Rock Crusher - accelerated replacement | 2019-05-08 | AR | 15 | Motors-HiEff
PR-21063 | Optimize Cement Plant Conveyer System - operational | 2019-05-08 | BRO-Op | 3 | NonRes-RCx-Operational
PR-21064 | Industrial process subcooler - add-on equipment | 2019-05-17 | AOE | 5 | RefgWrhs-Comp
PR-21440 | Ammonia based controls on wastewater blower - new | 2019-09-05 | NC | 8 | Motors-fan | Baseline Case: ISP - Automatic Single Set point Dissolved Oxygen Control of Secondary Aeration Blower for Wastewater Treatment Plant Measure Case: Automatic Ammonia Based Aeration Controls on Secondary Aeration Blower
PR-21527 | Process pipe insulation - retrocommissioning | 2019-11-07 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-21647 | High efficiency fluid cooler with VSD - normal replacement | 2020-01-13 | NR | 15 | HVAC-ClTwrPkgSys
PR-21710 | Compressed air leak mitigation - retrocommissioning | 2020-03-05 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-21713 | Wastewater effluent discharge system optimization - retrocommissioning | 2020-03-23 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-21738 | [SEM ONLY] Screw compressor with integrated VFD - normal replacement | 2020-04-22 | NR | 13 | CompAir-Screw-VSD
PR-21745 | VFD on dust collector - new | 2020-04-27 | NC | 15 | HVAC-VSD-fan
PR-21822 | [SEM ONLY] Compressed air to hydraulic hammer retrofit - normal replacement | 2020-07-09 | NR | 15 | ProcDist-Motor_Spd
PR-21830 | [Fuel Substitution ONLY] Industrial heat pump boiler - normal replacement | 2020-08-12 | NR | 10 | WtrHt-HtPmp
PR-21831 | [Fuel Substitution ONLY] Industrial heat pump boiler - accelerated replacement | 2020-08-12 | AR | 10 | WtrHt-HtPmp
PR-21832 | Non‐buoyant oxygen infusion treatment - add‐on‐equipment | 2020-08-25 | AOE | 5 | Motors-fan
PR-21833 | Industrial process cooling tower - VFD - add-on equipment | 2020-09-02 | AOE | 5 | HVAC-VSDSupFan
PR-21870 | Wastewater chemically enhanced primary treatment/sedimentation - new | 2020-10-14 | NC | 15 | Motors-pump
PR-21879 | Combustion air blower flow controls - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-21949 | Wastewater membrane bio reactor pulse aeration - normal replacement | 2020-12-31 | NR | 10 | Motors-pump | Measure is only applicable in the wastewater treatment membrane bio reactor cleaning process called air scouring. The measure is replacing the following existing air scouring strategies: continuous or cyclic/jet aeration. The new measure is to use multi-stage coarse bubble diffusers or other equipment to provide pulsed aeration.
PR-21960 | Low global warming potential high efficiency process chiller - normal replacement | 2020-12-31 | NR | 20 | HVAC-Chlr | The refrigerant has to have a Global Warming Potential (GWP) of less than 150 for systems with 50 pounds of refrigerant or more. The measure application is best recommended for system capacities of 150 tonnage or less. Baseline: air/water cooled chiller with HFC (ex. 407A) refrigerant. Proposed: air cooled packaged chiller with low GWP (ex. Ammonia) refrigerant.
PR-21972 | Aerobic digester blower controls - add-on equipment | 2021-05-17 | AOE | 5 | Motors-fan | Qualify Questions: 1. Does the existing aerobic digester aeration system use a non-automated process to control aeration? Answer must be YES 2. Is the existing aerobic digester blower’s flow control either inlet throttling or discharge throttling? Answer must be NO. If Yes, project does not qualify for measure unless the measure can be proven to be cost-effective. Foot note: 1. The installed measure must include either dissolved oxygen (DO) sensor(s) or oxidation reduction potential probe(s) as part of the measure scope, to provide feedback, for blower flow control.
PR-21973 | Primary and secondary treatment sequencing controls - add-on equipment | 2021-05-17 | AOE | 5 | Motors-fan | Foot notes: 1. The current primary treatment effectiveness must be less than 70%. 2. The Bio-Tower must be able to be shut down. 3. The wastewater treatment facility must have an activated sludge process that is able to handle the additional load.
PR-22104 | Air Compressor System Automatic Optimization - Operational | 2021-11-08 | BRO-Op | 3 | NonRes-RCx-Operational | Foot notes: 1. The system must have existing controls and communication devices. 2. The customer must be committed to a subscription contract for a minimum of three years. 3. All controls and operational changes must be automated.
PR-22105 | Wastewater Driven Heat Pump Water Heater - Normal Replacement | 2021-11-16 | NR | 15 | WtrHt-Com | Foot notes: 1. This is a fuel substitution measure. The existing natural gas water heater is to be replaced with the measure case equipment. 2. The measure must follow to Fuel Substitution Technical Guidance Document. Fuel substitution calculations must be conducted using CPUC’s “Fuel Substitution Calculator” and must pass Parts One and Two of the Fuel Substitution Test. 3. The standard practice baseline shall be determined per the CPUC ISP Guidance document. The base case equipment shall use the same code compliant equipment as the existing equipment (natural gas domestic storage or instantaneous hot water heater). 4. The existing natural gas water heater specification and nameplate data must be documented. 5. The existing natural gas water heater must be decommissioned and removed from customer site. 6. The measure case equipment must supply domestic hot water by capturing and reusing heat contained in wastewater. 7. Itemized paid invoices with infrastructure upgrade costs must be provided and included in the measure cost. Upgrades include capping off the natural gas line, running 240 V power to the heater and wastewater pumps, and running wastewater pipes to the wastewater tank and water heater.
PR-22106 | Forward Osmosis Liquid Concentrator - Normal Replacement | 2022-01-17 | NR | 15 | Motors-pump | Foot notes: 1. This is a fuel substitution measure. The existing natural gas-driven concentrator is to be replaced with the measure case equipment. 2. The measure must follow to Fuel Substitution Technical Guidance Document. Fuel substitution calculations must be conducted using CPUC’s “Fuel Substitution Calculator” and must pass Parts One and Two of the Fuel Substitution Test. 3. The standard practice baseline shall be determined per the CPUC ISP Guidance document. Per the Fuel Substitution Technical Guidance document, the base case equipment for fuel substitution measures utilizes the original fuel. 4. The existing natural gas-driven concentrator must be decommissioned and removed from customer site.
PR-22208 | New receiver tank for compressed air system (increased storage) - add-on equipment | 2022-02-07 | AOE | 4.3 | CompAir-Screw-VSD | Foot Notes: 1. This measure shall be used when the addition of the receiver tank is proposed to an existing compressed air system. 2. The existing compressed air system must follow the requirements of Title 24 in effect at the time of its installation or when Title 24 was triggered due to additions or alterations of the compressed air systems. 3. Existing receiver tank(s) may not be replaced by the new receiver tank and the existing tank(s) must remain online and in operation.
PR-22209 | New receiver tank for compressed air system (increased storage) - normal replacement | 2022-02-07 | NR | 13 | CompAir-Screw-VSD | Foot Notes: 1. This measure shall be used when the addition of the new receiver tank is proposed together with a compressor replacement. The receiver tank installed through this measure shall be the addition of storage beyond the standard practice. 2. Existing receiver tank(s) may not be replaced by the new receiver tank and the existing tank(s) must remain online and in operation.
PR-22212 | Air Compressor Mechanical-Aerodynamic Retrofit to enable sequencing - operational | 2022-03-01 | BRO-Op | 3 | NonRes-RCx-Operational | Foot Notes: 1. The scope of work is limited to the retrofit of the centrifugal compressor with new aero assembly to re-rate the centrifugal compressor and to change the sequence of operation in the air compressor system. 2. This measure is not eligible if this measure triggers Title 24 Section 120.6€ or is proposed together with a project that triggers Title 24 Section 120.6€.
PR-22326 | High Efficiency UV Cleaning - Fouling Prevention - add-on equipment | 2023-05-15 | AOE | 2.7 | Motors-fan | Measure Notes: 1. This measure shall be used only when the addition of the UV cleaning is proposed to an existing UV system.
PR-22866 | Air conveying systems | 2013-01-01 | NR | 15 | CompAir-CycAirDryr
PR-23985 | Optimize performance of process pump - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-24345 | Chemical oil/water separator for air compressors - add-on equipment | 2013-01-01 | AOE | 6.7 | CompAir-CycAirDryr
PR-26438 | System optimization for fans - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-28374 | All electric injection molder | 2013-01-01 | NR | 15 | Motors-HiEff
PR-29086 | Optimized air compressor sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-30497 | Optimize process pump schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-32303 | Air compressor retrofit - accelerated replacement | 2013-01-01 | AR | 13 | CompAir-Screw-VSD
PR-32454 | Car wash vacuum pumps - VFD - add-on equipment | 2013-01-01 | AOE | 4.3 | CompAir-Screw-VSD
PR-32793 | Cement process controls - add-on equipment | 2013-01-01 | AOE | 5 | Motors-fan
PR-32856 | Air compressor system control - add-on equipment | 2013-01-01 | AOE | 4.3 | CompAir-Screw-VSD
PR-34212 | Heat pumps for drying | 2013-01-01 | NR | 15 | HV-ResHP
PR-34466 | Radiant heat recovery gas conveyer charbroiler with electric resistance heating | 2013-01-01 | NR | 12 | Cook-HoldCab | See EPPICs 027.0 If project includes charbroiler model Nieco JF143, the measure energy savings should match the values in CPUC disposition. Energy savings for PR-34466 Radiant heat recovery gas conveyer charbroiler are dependent on the project’s installation type. • For Replace-on-Burnout (ROB) or New Load/New Construction (NEW) installations, the following energy savings must be applied to all calculated projects: 7,809 kWh/location and 1.12 kW/location. • For qualifying early retirement (RET) installations, the following energy savings must be applied: 1st baseline savings: 9,438 kWh/ location and 1.12 kW/location 2nd baseline savings (same as ROB/NEW): 7,809 kWh/location and 1.12 kW/location
PR-34654 | Optimize process motor - VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-34895 | Wastewater aerator blower - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-38572 | System optimization for compressed air - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-38737 | Injection molder barrel insulation - add-on equipment | 2013-01-01 | AOE | 3.7 | WtrHt-PipeIns-Gas
PR-39584 | High efficiency air dryer | 2013-01-01 | NR | 13 | CompAir-CycAirDryr
PR-40496 | Efficient thermoforming machine with radiant heating controls | 2013-01-01 | NR | 15 | HVAC-Frnc
PR-40970 | Gas separation and liquefaction process retrofits - accelerated replacement | 2013-01-01 | AR | 20 | Motors-pump
PR-42009 | Process chilled water pump system upgrades | 2013-01-01 | NR | 15 | Motors-pump
PR-43054 | Direct drive extruders | 2013-01-01 | NR | 15 | Motors-HiEff
PR-43665 | Optimize performance of bag processing machine - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-46373 | New Construction - Above Code Systems Design - Data Center Cooling | 2013-01-01 | NC | 4 | HVAC-airAC
PR-46777 | Dense Fluid Expander to improve efficiency of cryogenic fluid production - Add-on Equipment | 2013-01-01 | AOE | 5 | RefgWrhs-Cond
PR-48121 | Optimize process control loop tuning - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-48391 | 20 inches - 26 inches EE high volume low speed exhaust or circulation fans - new | 2013-01-01 | NC | 15 | HVAC-VSDSupFan
PR-48473 | Cycling dryer | 2013-01-01 | NR | 13 | Appl-EffCD
PR-48786 | 36 inches EE high volume low speed exhaust or circulation fans - accelerated replacement | 2013-01-01 | AR | 15 | HVAC-VSDSupFan
PR-48832 | Autoclave fans - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-49439 | Drying (UV/IR) | 2013-01-01 | NR | 15 | CompAir-CycAirDryr
PR-49586 | Wastewater treatment - fine bubble aeration | 2013-01-01 | NR | 15 | ProcDist-Motor_Spd
PR-49796 | Optimize Process pressure sensor - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-51921 | Centrifugal blower replacing compressed air system - normal replacement | 2013-01-01 | NR | 8 | ProcDist-Motor_Spd
PR-52891 | High Efficiency Blow Molding Machine | 2013-01-01 | NR | 15 | Motors-HiEff
PR-57193 | Compressed air recovery system - add-on equipment | 2013-01-01 | AOE | 4.3 | CompAir-Screw-VSD
PR-57774 | Efficient water distillation systems | 2013-01-01 | NR | 20 | Motors-HiEff
PR-59686 | Desiccant dryer | 2013-01-01 | NR | 15 | HVAC-airAC
PR-59787 | Efficient water purification system | 2013-01-01 | NR | 20 | Motors-HiEff
PR-59848 | New Construction - Above Code Systems Design - Manufacturing & Industrial Process Efficiency | 2013-01-01 | NC | 15 | HVAC-EMS
PR-60663 | Optimize drying process - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-60891 | Chilled water filtration system - add-on equipment | 2013-01-01 | AOE | 6.7 | HVAC-Chlr
PR-64722 | Efficient lamination machine | 2013-01-01 | NR | 10 | Motors-HiEff
PR-65701 | Efficient electric melting | 2013-01-01 | NR | 12 | Cook-HoldCab
PR-67181 | 72 inch circulation fans with VFDs - accelerated replacement | 2013-01-01 | AR | 15 | HVAC-VSDSupFan
PR-67492 | Efficient curing ovens | 2013-01-01 | NR | 12 | Cook-HoldCab
PR-68760 | Nitrogen tartrate removal system upgrade for wine production | 2013-01-01 | NR | 15 | Motors-pump
PR-69784 | Exhaust Gas Heat Reclaim - Add-on Equipment | 2013-01-01 | AOE | 6.67 | HVAC-AtoAHtExchng
PR-69844 | Efficient battery charger (forklifts only) | 2013-01-01 | NR | 15 | HVAC-EMS
PR-69972 | Process laser controls - add-on equipment | 2013-01-01 | AOE | 3.3 | ProcDist-Motor_Spd
PR-69984 | Material transport system retrofits - accelerated replacement | 2013-01-01 | AR | 15 | Motors-pump
PR-71213 | Efficient desalter | 2013-01-01 | NR | 15 | Motors-pump
PR-71632 | Phase change retrofit - add-on equipment | 2013-01-01 | AOE | 5 | RefgWrhs-Comp
PR-75324 | Optimize process boiler schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-78584 | High efficiency process chiller | 2013-01-01 | NR | 20 | HVAC-Chlr
PR-78934 | Exhaust Gas Abatement System Optimization - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-82321 | Replace injection molding machine barrel heaters with induction heaters | 2013-01-01 | NR | 15 | Motors-HiEff
PR-85031 | Intelligent extruder (DOE) | 2013-01-01 | NR | 15 | Motors-HiEff
PR-87504 | Air compressor no-loss drain valves - add-on equipment | 2013-01-01 | AOE | 3.3 | CompAir-ZeroLossCondDrn
PR-87855 | 57 inches - 60 inches EE high volume low speed exhaust or circulation fans - normal replacement | 2013-01-01 | NR | 15 | HVAC-VSDSupFan
PR-89333 | Inverter technology welding machines | 2013-01-01 | NR | 12 | Motors-pump
PR-89417 | Collection control system - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-89456 | Chiller (process) compressor - VFD - add-on equipment | 2013-01-01 | AOE | 6.7 | HVAC-Chlr
PR-89584 | Molding machine controls - add-on equipment | 2013-01-01 | AOE | 3 | ProcDist-Motor_Spd
PR-90007 | Water pressure management with pressure reducing valves - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-90435 | Blower - VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-90498 | Optimize process boiler sequencing - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
PR-90809 | High consistency forming | 2013-01-01 | NR | 15 | Motors-pump
PR-90877 | Low NOx boiler replacing standard low NOx boiler with lowered fan HP requirements | 2013-01-01 | NR | 20 | PrcHt-Blr
PR-92234 | Air compressor sequencing controls - operational | 2013-01-01 | BRO-Op | 3 | NonRes-RCx-Operational
PR-93874 | Process chiller controls - add-on equipment | 2013-01-01 | AOE | 6.7 | HVAC-Chlr
PR-94826 | Dust collector VFD - add-on equipment | 2013-01-01 | AOE | 5 | HVAC-VSDSupFan
PR-94858 | Injection molding - multi-pump | 2013-01-01 | NR | 15 | HVAC-VSD-pump
PR-98361 | Efficient dye machine | 2013-01-01 | NR | 15 | Motors-HiEff
PR-98454 | Optimize process chiller plant schedule - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
RF-10217 | Optimize refrigeration compressor controls - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
RF-12524 | High Efficiency Refrigerated Display Case | 2013-01-01 | NR | 12 | GrocDisp-DispCvrs
RF-16294 | High-speed cold storage doors | 2013-01-01 | NR | 12 | GrocWlkIn-WDrGask
RF-19803 | Floating head pressure controls - add-on equipment | 2017-06-19 | AOE | 5 | RefgWrhs-FltHdPres
RF-19804 | Strip curtains for walk-in boxes - low temp - add-on equipment | 2017-06-19 | AOE | 1.3 | GrocWlkIn-StripCrtn
RF-19805 | Rapid close doors for coolers - add-on equipment | 2017-06-19 | AOE | 2.7 | GrocWlkIn-DrClsr
RF-19806 | Refrigerated case doors - add-on equipment | 2017-06-19 | AOE | 4 | Cook-SDRef
RF-19807 | Floating suction pressure controls - add-on equipment | 2017-06-19 | AOE | 5 | GrocSys-FltSucPres
RF-19808 | Evaporator coil fan control (cycling) - add-on equipment | 2017-06-19 | AOE | 5 | Motors-fan
RF-19809 | Strip curtains for walk-in boxes - med temp - add-on equipment | 2017-06-19 | AOE | 1.3 | GrocWlkIn-StripCrtn
RF-19810 | Insulate bare suction pipes - add-on equipment | 2017-06-19 | AOE | 3.7 | WtrHt-PipeIns-Gas
RF-19811 | Rapid close doors for freezers - add-on equipment | 2017-06-19 | AOE | 2.7 | GrocWlkIn-DrClsr
RF-20293 | Low GWP Refrigerant Replacements for Refrigeration - normal replacement | 2018-04-01 | NR | 5 | HVAC-RefChg
RF-20654 | Insulating storage tanks - add-on equipment | 2013-01-01 | AOE | 5 | RefgWrhs-Comp
RF-20963 | Optimize refrigeration pump VFD - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
RF-21441 | Condenser fan - VFD - add-on equipment | 2019-09-06 | AOE | 5 | RefgWrhs-Cond
RF-21451 | VFD on evaporator coil fan - new | 2019-09-19 | NC | 15 | Motors-fan
RF-21476 | Continuously variable electric expansion valve - normal replacement | 2019-10-24 | NR | 5 | GrocWlkIn-WEvapFanMtr
RF-21646 | Electronically commutated motor (ECM) evaporator fan with controller (<1HP) - accelerated replacement, to-code | 2020-01-07 | AR | 5 | Motors-fan
RF-21737 | [SEM ONLY] Screw compressor - VFD (industrial refrigeration) - add-on equipment | 2020-04-22 | AOE | 5 | RefgWrhs-Comp
RF-21739 | [SEM ONLY] Refrigeration system upsize suction header - normal replacement | 2020-04-23 | NR | 15 | RefgWrhs-FltHdPres
RF-21969 | low charge ammonia, secondary loop carbon dioxide freezer - normal replacement | 2021-03-25 | NR | 15 | RefgWrhs-Cond | The measure will have the following footnotes: 1. The refrigerant has to have a Global Warming Potential (GWP) of less than 150 for systems with 50 pounds of refrigerant or more. 2. The measure application is best recommended for system capacities of between 20-125 tonnage. 3. For larger tonnages, systems can be scaled in multiples.
RF-22213 | Refrigerated open case shelf-edge technology - add-on equipment | 2022-03-09 | AOE | 4 | GrocDisp-FixtDoors
RF-22330 | Phase Change Thermal Storage for Walk-in Freezers and Refrigerated Warehouses - add-on equipment | 2023-07-31 | AOE | 5 | RefgWrhs-Comp
RF-28375 | Single stage system to two stage refrigeration system conversion (industrial and commercial refrigeration) | 2013-01-01 | NR | 15 | RefgWrhs-Comp
RF-28734 | Subcooling refrigeration controls - add-on equipment | 2013-01-01 | AOE | 5 | RefgWrhs-SubClr
RF-38743 | Single system to multiplex/parallel system conversion | 2013-01-01 | NR | 15 | RefgWrhs-SubClr
RF-43876 | Defrost controls - add-on equipment | 2013-01-01 | AOE | 4 | Cook-SDRef
RF-49983 | Efficient refrigeration condensing unit | 2013-01-01 | NR | 15 | RefgWrhs-Cond
RF-53890 | Optimize refrigeration control loop tuning - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
RF-57763 | Indirect to direct evaporative refrigeration system conversion | 2013-01-01 | NR | 15 | RefgWrhs-Comp
RF-61954 | ECM evap fan with controller for walk-ins >3,000 sqft (>1HP) - accelerated replacement | 2013-01-01 | AR | 15 | GrocWlkIn-WEvapFanMtr
RF-63798 | Refrigeration fan retrofits - accelerated replacement | 2013-01-01 | AR | 15 | RefgWrhs-Cond
RF-65403 | Optimize refrigeration defrost control - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
RF-65700 | Efficient refrigeration compressors - add-on equipment | 2013-01-01 | AOE | 6.7 | RefgWrhs-Comp
RF-67581 | Low temperature reach-in door - anti fog film - add-on equipment | 2013-01-01 | AOE | 4 | Cook-SDRef
RF-68574 | Repiping refrigeration whey processing system | 2013-01-01 | NR | 15 | RefgWrhs-Comp
RF-70693 | Optimize refrigeration floating head pressure controls - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
RF-78143 | Refrigeration system retrofits - accelerated replacement | 2013-01-01 | AR | 15 | RefgWrhs-Comp
RF-79158 | Low charge ammonia - accelerated replacement | 2013-01-01 | AR | 15 | RefgWrhs-Comp
RF-79521 | Refrigeration compressor controls - add-on equipment | 2013-01-01 | AOE | 5 | RefgWrhs-Comp
RF-79698 | Insulating refrigeration lines - add-on equipment | 2013-01-01 | AOE | 3.7 | RefgWrhs-SLIns
RF-87644 | Evaporator coil fan - VFD - add-on equipment | 2013-01-01 | AOE | 5 | Motors-fan
RF-89043 | Optimize refrigeration evaporator fan controls - retrocommissioning | 2013-01-01 | BRO-RCx | 3 | NonRes-RCx-Operational
RF-90876 | Oversized air cooled condenser - accelerated replacement | 2013-01-01 | AR | 15 | RefgWrhs-Cond
RF-94321 | Night curtains - add-on equipment | 2013-01-01 | AOE | 1.7 | GrocDisp-DispCvrs
RF-94589 | Screw compressor - VFD (industrial refrigeration) - add-on equipment | 2013-01-01 | AOE | 5 | RefgWrhs-Comp
RF-95720 | Walk-in electronically commutated motor (ECM) | 2013-01-01 | NR | 20 | Motors-HiEff
WB-21103 | [SEM O&M projects ONLY] Whole Building behavioral, operational, and process efficiency optimization | 2019-05-23 | BRO-Op | 5 | NonRes-WhlBldg-SEM
WB-21715 | [NMEC ONLY] Site-level whole building comprehensive retrofit - commercial | 2020-03-30 | AOE | 1 | WhlBldg-WBInsFen-RET-SF
WB-22295 | [NMEC ONLY] Site-level whole building comprehensive retrofit - Multifamily | 2022-10-06 | AOE | 1 | WlHs-Upgrade | 1. Solution code is limited to indoor common areas only. 2. Measure application type (MAT) of Add-on Equipment is a placeholder. The MAT should be the one that is not only suitable for an existing conditions baseline, but also the one which accounts for the majority of the project savings. 3. EUL of 1 is a place holder. The savings weighted EUL shall be calculated for projects that install a combination of measures. 4. EUL ID: WlHs-Upgrade is a place holder. EUL ID will be updated once NMEC EUL ID is created. 5. Sufficient measure-level information (scope of each measure, MAT, EUL) shall be provided for all measures included in the NMEC whole-building projects.